## About
CpUDSC Cost per Unit Distributed Solar Capacity
Sources: | 2015 Price (DC)
Lawrence Berkeley National Laboratory
2016
Tracking the Sun IX
https://emp.lbl.gov/sites/all/files/tracking_the_sun_ix_report.pdf
Page 23, Figure 13
Future Trends
Black and Veatch
2012
Cost and Performance Data for Power Generation Technologies
http://bv.com/docs/reports-studies/nrel-cost-report.pdf
Page 38, Table 25, "Residential PV with a 4 kw (DC) install size"
Solar DC to AC Derate Value
Jens Schoene, EnerNex
2015
Production Levels of Utility-Scale and Residential-Scale PV Systems
http://brattle.com/system/publications/pdfs/000/005/188/original/Comparative_Generation_Costs_of_Utility-Scale_and_Residential-Scale_PV_in_Xcel_Energy_Colorado's_Service_Area.pdf?1436797265
This document is included as Appendix B of a report by Brattle Group. It is on Page 10 of the EnerNex report, which is Page 70 of the PDF
2015 USD to 2015 CAD
1.3901
see cpi.xlsx for data

## 2015 Price
2015 Distributed Solar Cost ($/W DC)
4 | "Residential Installed Price"
Watts DC are lower than Watts AC, but AC is needed to either sell to the grid or to power devices in homes.
Therefore, we convert to the cost per Watt AC using a derate factor:
0.859 | DC to AC derate factor
2015 Distributed Solar Cost ($/W AC)
6.4731

## Future Trend
We use Black and Veatch's cost projections to estimate the rate of cost declines (improvement).
We do NOT use their costs directly, because in 2015, actual costs were lower than their projection.
Capital Cost Projections from Black & Veatch (2004 $/kW)
Residential PV with a 4 kW (DC) install size
2015 | 4340
2020 | 3750
2025 | 3460
2030 | 3290
2035 | 3190
2040 | 3090
2045 | 3010
2050 | 2930
Linearly Interpolated Capital Cost Projections (2004 $/kW) and Ratios
Year | Solar PV Cap Cost | Cost Relative to 2015
2015 | 4340 | 1
2016 | 4222 | 0.97281
2017 | 4104 | 0.94562
2018 | 3986 | 0.91843
2019 | 3868 | 0.89124
2020 | 3750 | 0.86406
2021 | 3692 | 0.85069
2022 | 3634 | 0.83733
2023 | 3576 | 0.82396
2024 | 3518 | 0.8106
2025 | 3460 | 0.79724
2026 | 3426 | 0.7894
2027 | 3392 | 0.78157
2028 | 3358 | 0.77373
2029 | 3324 | 0.7659
2030 | 3290 | 0.75806
2031 | 3270 | 0.75346
2032 | 3250 | 0.74885
2033 | 3230 | 0.74424
2034 | 3210 | 0.73963
2035 | 3190 | 0.73502
2036 | 3170 | 0.73041
2037 | 3150 | 0.72581
2038 | 3130 | 0.7212
2039 | 3110 | 0.71659
2040 | 3090 | 0.71198
2041 | 3074 | 0.70829
2042 | 3058 | 0.70461
2043 | 3042 | 0.70092
2044 | 3026 | 0.69724
2045 | 3010 | 0.69355
2046 | 2994 | 0.68986
2047 | 2978 | 0.68618
2048 | 2962 | 0.68249
2049 | 2946 | 0.6788
2050 | 2930 | 0.67512

## CpUDSC
Distributed Solar Cap Cost ($/MW)
2015 | 6473108.2654
2016 | 6297111.3126
2017 | 6121114.3597
2018 | 5945117.4069
2019 | 5769120.4541
2020 | 5593123.5012
2021 | 5506616.5244
2022 | 5420109.5476
2023 | 5333602.5708
2024 | 5247095.594
2025 | 5160588.6171
2026 | 5109877.6307
2027 | 5059166.6443
2028 | 5008455.6579
2029 | 4957744.6715
2030 | 4907033.6851
2031 | 4877203.6931
2032 | 4847373.7011
2033 | 4817543.7091
2034 | 4787713.7171
2035 | 4757883.725
2036 | 4728053.733
2037 | 4698223.741
2038 | 4668393.749
2039 | 4638563.757
2040 | 4608733.765
2041 | 4584869.7714
2042 | 4561005.7778
2043 | 4537141.7842
2044 | 4513277.7906
2045 | 4489413.797
2046 | 4465549.8034
2047 | 4441685.8098
2048 | 4417821.8162
2049 | 4393957.8226
2050 | 4370093.829